## Instructions 48 +
Instructions: Bin Concentration Calculation - 48 or more samples, even frequency - Filtered Systems
Can be used for grandfathered data, initial monitoring, or a combination of the two
When used properly, sheet will correctly calculate bin concentration and bin classification.
1. Check that you are using the proper sheet for the number of samples collected
2. Assure the validity of every result before entering it on this spreadsheet.
3. Enter the sample results (in oocysts/L, to the thousandth) in the proper cell for the samples collected (replacing a "0.000" result if needed).
* Example; If the first month of monitoring is October 2006, enter the first result for October 2006 in the "Month 1", "Result 1" cell.
If there is a second sample that month, enter that result in the "Month 1", "Result 2" cell.
4. The month number (1, 2, 3, etc.) can be changed to the month/year at the user's option (Jan 06, Feb 06, etc.)
5. If there is no sample result for a given month, that month should not be included.
* Example, if samples are collected in October 06 and December 06, but none in November 06 (for example, if a resample was required but not collected until December), October is "Month 1" and December is "Month 2".
6. If there is only 1 sample result for any given month, leave the other "Results" cells for that month blank. DO NOT enter a zero for any missing result.

## 48+ Form
LT2 Bin Concentration Calculation - 48 or more samples, even frequency - Filtered System | [6 empty] | PWS Name:
PWS ID:
Facility Name:
Facility ID:
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 2* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 3*
Result 4*
Month | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 2* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 3*
Result 4*
Month | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Result 1*
Result 2*
Result 3*
Result 4*
LT2 Bin Concentration: Mean of All Results |  |  | 0 |  |  | Bin Classification - from §141.710(c) |  | 1
* All results in oocyst/L - valid field samples only (no matrix spike, OPR or method blank samples)

## 48+ Example 1
EXAMPLE 1 LT2 Bin Concentration Calculation - 48 or more samples, even frequency - Filtered System | [6 empty] | PWS Name: Anytown USA
PWS ID: DC1234321
Facility Name: Water Plant
Facility ID: WTP1
Month | Jun '04 | Jul '04 | Aug '04 | Sept '04 | Nov '04 | Dec '04 | Jan '05 | Feb '05 | Mar '05 | Apr '05 | Jun '05 | Jul '05
Result 1* | 0 | 0 | 0.2 | 0 | 0 | 0 | 0.2 | 0 | 0 | 0.3 | 0 | 0
Result 2* | 0 | 0 | 0 | 0 | 0.2 | 0 | 0 | 0.1 | 1 | 0 | 0.1 | 0
Result 3*
Result 4*
Month | Aug '05 | Sept '05 | Oct '05 | Nov '05 | Dec '05 | Jan '06 | Feb '06 | Mar '06 | Apr '06 | May '06 | Jun '06 | Jul '06
Result 1* | 0 | 0.2 | 0 | 0 | 0 | 0 | 0.3 | 0 | 0 | 0.4 | 0 | 0
Result 2* | 0 | 0 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 3*
Result 4*
Month | Aug '06 | Sept ' 06 | Oct ' 06 | Nov '06 | Dec '06 | Jan '07 | Feb '07 | Mar '07 | Apr '07 | 34 | 35 | 36
Result 1*
Result 2*
Result 3*
Result 4*
LT2 Bin Concentration: Mean of All Results |  |  | 0.066667 |  |  | Bin Classification - from §141.710(c) |  | 1
* All results in oocyst/L - valid field samples only (no matrix spike, OPR or method blank samples)

## 48+ Example 2
EXAMPLE 1 LT2 Bin Concentration Calculation - 48 or more samples, even frequency - Filtered System | [6 empty] | PWS Name: Anytown USA
PWS ID: DC1234321
Facility Name: Water Plant
Facility ID: WTP1
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Result 1* | 0 | 0 | 0.2 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0
Result 2* | 0 | 0 | 0 | 0 | 0.2 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Result 3*
Result 4*
Month | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Result 1* | 0 | 0.6 | 0 | 0 | 0 | 0 | 0.8 | 0 | 0 | 1 | 0 | 0
Result 2* | 0 | 0 | 0 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 3*
Result 4*
Month | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Result 1* | 0 | 0.1 | 0
Result 2* | 0 | 0.1 | 0
Result 3*
Result 4*
LT2 Bin Concentration: Mean of All Results |  |  | 0.090741 |  |  | Bin Classification - from §141.710(c) |  | 2
* All results in oocyst/L - valid field samples only (no matrix spike, OPR or method blank samples)